## Slide 1
CAPSTONE
PROJECT
“Wound Depth Measurement System in Forensic Case”

## Slide 2
In the field of forensic science, wound depth measurement is a critical point that connects medical analysis with legal investigation
Research Question

## Slide 3
Currently, the wound measurement process is still conducted manually
Problem Identification
Manual Method
Vulnerable to Human Error
    Errors in data entry on written documents
    Measurement errors
    Damaging the wound so that the measurement results do not match the original

## Slide 4
Problem Statement
How does the wound dimension measurement system work in forensic cases?
1
2
3
What algorithms are used to create a system for measuring wound dimensions in forensic cases, and why is this algorithm used?
How accurate are the measurements produced by the wound dimension measurement system in forensic cases?

## Slide 5
Developing algorithms for medical devices, specifically for wound measurement tools in forensic cases based on knowledge from previous research
Objective
How it Works
Algorithm
Accuracy
Main Objective

## Slide 6
The system is designed to perform only wound measurements, such as length, width, and depth of the wound
1
2
3
Scope of the problem
The system is designed to be used on smartphone
The system is not designed to perform the classification of wound types

## Slide 7
Engineering Constrain
The system must be user-friendly
The measurement results are predictions with an accuracy of over 80%
The system must be contactless

## Slide 8
The system is designed to perform measurements in real-time
1
2
4
3
5
System Spesification
The measurement results of the system include the length, width, and depth of the wound
The measurement process is contactless
The system operation is performed online
The system operation can be performed on mobile devices (smartphones)

## Slide 9
Wound Depth Measurement

## Slide 10
Image Segmentation Process
Image Acquisition
Wound Depth Dimension Classification Process using Color Analysis
Measurement Results Data is Displayed and Saved
System Workflow
START
FINISH

## Slide 11
Wound Depth Measurement
Wound Image Classification According to Its Stage:
  Stage II : 36 Images
  Stage III: 12 Images
  Stage IV: 28 Images
1
  Preprocessing Data Training

## Slide 12
HSV
Wound Depth Measurement
2
Feature Extraction: HSV and LAB
  Preprocessing Data Training
LAB

## Slide 13
Wound Depth Measurement
3
Extracted data is saved as training data in the following formats:
  Feature : Hue, Saturation, L, A, dan B
  Class : Stage II, Stage III, dan Stage IV
  Preprocessing Data Training

## Slide 14
Wound Depth Measurement
Image Acquisition (Direct/Indirect)
1
2
3
Testing image features are extracted and then input into the Machine Learning SVM
Measurement results data is displayed and saved
  Wound Depth Measurement System

## Slide 15
Wound Depth Measurement
  Wound Depth Measurement Performance

## Slide 16
App Interface

## Slide 17
Thank you